## Slide 1
Smart parking Project

## Slide 2: Plan
Introduction
Graphic chart
Business feasibility study
Technical feasibility study
App Prototype

## Slide 3
Introduction

## Slide 4
Graphic
Chart

## Slide 6
Technical
Fesability

## Slide 7
Technical Fesability
The list of materials are broadly available in the market.
the chosen spot for the park is in the center of the city which means plenty of demand for parking spots.

## Slide 8
Kit Panneau solaire souple 400W avec contrôleur
400W Flexible Solar Panel Kit with Controller is the best quality solar panel we have found on a comparative market with excellent performance, even in low sunlight. It is eye-resistant enough to create a single treatment panel that is practical enough.
Costs : 2 750dt

## Slide 9
Wind turbine 3KW PRO 6 blades
3KW wind turbine with 6 horizontal blades, brushless alternator, 100A three-phase rectifier, 60A controller and a 3200W converter
Prix :11 000dt

## Slide 10
MPPT solar charge controller 12V/24V 20A
Current autofocus MPPT tracking charging, high charging efficiency, charging process does not stop detection, two-way focus tracking. The minute is adjustable when the output is off, which is more convenient (there is no adjustment when the market is only available). Built-in over temperature, over current, short circuit, open circuit protection, fault clearance, controller automatic recovery Two-way MOS tube anti-backflow circuit, high-power charging mode, ultra-low heat.
Price: 58dt

## Slide 11
Rechargeable battery 12V 22.9Ah SWL750
Yuasa SWL750 (12V 22.9Ah) General Purpose VRLA Battery – 10 Hour Capacity (Ah) is a high quality rechargeable sealed lead acid battery designed to provide excellent performance, durability and long life. This battery meets or exceeds the original manufacturer's specifications. The SWL750 replacement battery is backed by our industry-leading 1-year replacement warranty. An extended warranty of up to 3 years is available for your convenience. Our warranty includes shipping and is hassle-free, the only warranty of its kind on the market.
Price: 250dt

## Slide 12
The board employs two TL082 ICs and four adjustable resistors to monitor battery voltage levels. When the voltage exceeds preset thresholds determined by the resistors, the TL082 comparators are triggered. The battery levels are then shown on the dashboard's graphical interface. The board has six pins, with two connecting to the battery, one supplying power to the Raspberry Pi, and three sending input signals to it for display.
Main circuit board

## Slide 13
FC-51 Infrared Obstacle Avoidance Sensor
FC-51 Infrared Obstacle Avoidance Sensor , Infrared Obstacle Avoidance Sensor (Active Low) includes a pair of infrared transmitting and receiving tubes. When the transmitted light waves are reflected, the reflected infrared waves will be received by the receiver tube. The built-in comparator circuit performs processing, and the green light turns on.
Price: 0.45dt

## Slide 14
Raspberry Pi4 2GB RAM board
Raspberry Rpi 4 RAM 2GB Card is the latest product in the popular Raspberry Pi line of computers. It offers revolutionary increases in processor speed, multimedia performance, memory and connectivity compared to the Raspberry Pi 3 Model B+ previous generation while maintaining backward compatibility and similar power consumption. For the end user, Raspberry Pi 4 Model B delivers desktop performance comparable to entry-level x86 PC systems.
Price: 300dt

## Slide 15
Straight Bar Barrier Gate
Product Introduction
Vehicle entrance control gate barrie
Compact design
Switchable Reader Panel
Simple installation
Long life cycle
Price: 1000dt

## Slide 16
Camera solutions
Installed for to monitor and survey the parking lot area.
Price: 2000dt

## Slide 17
Internet Connection
A necessity for our IoT system infrastructure

## Slide 18
Financial Feasibility

## Slide 19: THE SMART PARKING ALLOWS:
serenity and coexistence
Efficiency and profitability through data collection and analysis
Save time thanks to the routing list
EnergySaving

## Slide 20
BMC

## Slide 21
Name | Quantity | Price | Total
Solar Panel | 4 | 2 750 | 11 000
Wind Turbine | 2 | 11 000 | 22 000
MPPT solar charge controller | 1 | 58 | 58
battery | 5 | 250 | 1 250
FC-51 Infrared Obstacle Avoidance Sensor | 75 | 0,45 | 33,750
Raspberry Pi4 2GB RAM board | 1 | 280 | 280
Straight Bar Barrier Gate | 2 | 1 000 | 1 000
Camera solutions | 1 | 2 000 | 2 000
Costs breakdown

## Slide 22
37 621,75 TND
Total Spending

## Slide 23
App Prototype

## Slide 24
User UI

## Slide 25
User UI

## Slide 26
User UI

## Slide 27
Admin UI

## Slide 28
Thank
You